## Slide 1: QSYS Architecture (MINERVA Cryogenic System)
Daniel Berkowitz (MDB-ATS-ACR)
ALX-40629944

## Slide 2: MINERVA’s Cryo-Architecture
Cryogenic Supply System (CSS)
Infrastructure
Cryoplant
Cryogenic Distribution System
Storages
Warm compressor stations
Refrigerator cold-box
Cryogenic transfer lines
Cryogenic Cell
Refrigerator cold boxes
Warm compressor station
Gas management
He purification system
He recovery system
Warm Piping System
Cryogenic distribution boxes
Main Cryogenic Line (QRB ↔ QVB)
Cryomodule’s valve-box
HP gaseous warm He storage (GHe)
Liquid He storage (LHe)
Liquid N2 storage (LN2)
General piping
Cryomodules
End-box
Warm Piping MAC
For aiding the main process (buffering)
- Incl. transfer lines
Compressor skids (SP, LP, and MP)
Gas regulation panel
Oil removal system
Dryers
Cold Compressors
Main process section (HX, turbines, etc)
Warm-section panel
To assist pre-cooling and/or purification units
- Incl. transfer lines
QPLANT
QDIST
QINFRA
QLM
WPS
QVE
QRB
WCS
QSH
WSH
QSN
_G_
QVB
QM
_P _
_C_
_S_
_R_
_L_
_V_
WGP
WGR
Naming Convention (SCK-CEN/42055443)
QCELL
Utilities ACC
Electrical power
Compressed air
Cooling water
HVAC
NA.ESxx
NA.PS01
NA.PS05
NA.HV03
Cryogenic Distribution Backbone (QDB)
Supply lines (U)
Recovery lines (W)
SV lines (S)
Vent lines (V)
WGR-PS: for LINAC (ACC PS)
WGR-MAC: for MAC
Supporting Systems
Insulation Vacuum
Controls for QCELL & QDIST
Controls for QPLANT
ACC PS/INVAC
CIS/xxx Column
CIS/Cryo Column
LINAC Configuration:
  24 QMs: initial / current implementation.
  30 QMs: design point for CRYOSYS.
[Not Baseline]
[Not Baseline]
Cryogenic Users
MINERVA Cryogenic System
QSYS
[Not Baseline]
[Not Baseline]
WPM
[scope NFS]

## Slide 3: MINERVA’s Cryo-Architecture
Cryogenic Supply System (CSS)
Infrastructure
Cryoplant
Cryogenic Distribution System
Storages
Warm compressor stations
Refrigerator cold-box
Cryogenic transfer lines
Cryogenic Cell
Refrigerator cold boxes
Warm compressor station
Gas management
He purification system
He recovery system
Warm Piping System
Cryogenic distribution boxes
Main Cryogenic Line (QRB ↔ QVB)
Cryomodule’s valve-box
HP gaseous warm He storage (GHe)
Liquid He storage (LHe)
Liquid N2 storage (LN2)
General piping
Cryomodules
End-box
Warm Piping MAC
For aiding the main process (buffering)
- Incl. transfer lines
Compressor skids (SP, LP, and MP)
Gas regulation panel
Oil removal system
Dryers
Cold Compressors
Main process section (HX, turbines, etc)
Warm-section panel
To assist pre-cooling and/or purification units
- Incl. transfer lines
QPLANT
QDIST
QINFRA
QLM
WPS
QVE
QRB
WCS
QSH
WSH
QSN
_G_
QVB
QM
_P _
_C_
_S_
_R_
_L_
_V_
WGP
WGR
Naming Convention (SCK-CEN/42055443)
QCELL
Utilities ACC
Electrical power
Compressed air
Cooling water
HVAC
NA.ESxx
NA.PS01
NA.PS05
NA.HV03
Cryogenic Distribution Backbone (QDB)
Supply lines (U)
Recovery lines (W)
SV lines (S)
Vent lines (V)
WGR-PS: for LINAC (ACC PS)
WGR-MAC: for MAC
Supporting Systems
Insulation Vacuum
Controls for QCELL & QDIST
Controls for QPLANT
ACC PS/INVAC
CIS/xxx Column
CIS/Cryo Column
LINAC Configuration:
  24 QMs: initial / current implementation.
  30 QMs: design point for CRYOSYS.
[Not Baseline]
[Not Baseline]
Cryogenic Users
MINERVA Cryogenic System
QSYS
[Not Baseline]
[Not Baseline]
WPM
[scope NFS]
Tender Package
Tender01
Tender02
Other Tenders

## Slide 4
MINERVA Cryogenic System (highly simplified)
QVB
QVB
QVE
QLM
QRB
WCS
WSH
WSH
WSH
QM
QM
QCELL
WPS
Cryoplant & Infrastructure
Cryo Backbone
Cryomodules
System lifecycle:
Design & Engineering
Procurement & Implementation
Prequalification & Testing
Installation & SAT

## Slide 5
MINERVA Cryogenic System (highly simplified)
QVB
QVB
QVE
QLM
QRB
WCS
WSH
WSH
WSH
QM
QM
QCELL
WPS
Cryoplant & Infrastructure
Cryo Backbone
Cryomodules
ALL GROUPED

## Slide 6
QM
QM
QCELL
Cryomodules
MINERVA Cryogenic System (highly simplified)
QVB
QVB
QVE
QLM
QRB
WCS
WSH
WSH
WSH
WPS
Cryoplant & Infrastructure
Cryo Backbone
Partial – blue/orange/pink

## Slide 7
MINERVA Cryogenic System (highly simplified)
QM
QM
QCELL
Cryomodules
Cryo Backbone
QVB
QVB
QVE
QLM
WPS
Cryoplant & Infrastructure
THINK_OK – blue/orange/pink
QRB
WCS
WSH
WSH
WSH

## Slide 8
MINERVA Cryogenic System (highly simplified)
QM
QM
QCELL
Cryomodules
Cryo Backbone
QVB
QVB
QVE
QLM
WPS
Cryoplant & Infrastructure
SPLIT LAST QVB
QRB
WCS
WSH
WSH
WSH

## Slide 9
MINERVA Cryogenic System (highly simplified)
QM
QM
QCELL
Cryomodules
Cryogenic Backbone (QBD)
QVB
QVB
QVE
QLM
WPS
Cryoplant (QPLANT) & Infrastructure (QINFRA)
BLACK and white – make paspartu

## Slide 10
MINERVA Cryogenic System (highly simplified)
QM
QM
QCELL
Cryomodules
Cryogenic Backbone (QBD)
QVB
QVB
QVE
QLM
WPS
Cryoplant (QPLANT) & Infrastructure (QINFRA)
BLACK and white – make paspartu

## Slide 29: PERMISSION denied is OK for ONEDRIVE (root PC and non-ADMIN rihts – BUT keep the ‘SCK CEK/#####’ ,number (this is the reference and with acces number (as I as isuser have I have acdse – but this not accessbi form out ibezer oe

## Slide 30: PERMISSION denied is OK for ONEDRIVE (root PC and non-ADMIN rihts – BUT keep the ‘SCK CEK/#####’ ,number (this is the reference and with acces number (as I as isuser have I have acdse – but this not accessbi form out ibezer oe

## Slide 34
IMPOTANT
IMPOTAN: LOOK at version number - ‘SCK CEN/’ = ‘ALX/’ – internal reference to ALEXANDRIA doc. control

## Slide 40
MINERVA Cryogenic System (highly simplified)
QM
QM
QCELL
Cryomodules
Cryoplant & Infrastructure
THINK_OK – blue/orange/pink
QRB
WCS
WSH
WSH
WSH

## Slide 41
MINERVA Cryogenic System (highly simplified)
QVB
QVB
QVE
QLM
QRB
WCS
WSH
WSH
WSH
QM
QM
QCELL
WPS
Cryoplant & Infrastructure
Cryo Backbone
Cryomodules
System lifecycle:
Design & Engineering
Procurement & Implementation
Prequalification & Testing
Installation & SAT

## Slide 44
MINERVA Cryogenic System (highly simplified)
QVB
QVB
QVE
QLM
QRB
WCS
WSH
WSH
WSH
QM
QM
QCELL
WPS
Cryoplant & Infrastructure
Cryo Backbone
Cryomodules
System lifecycle:
Design & Engineering
Procurement & Implementation
Prequalification & Testing
Installation & SAT

## Slide 45: Previous version
Prior 9-9-2024 (NFS to ATS transfer)

## Slide 46: MINERVA’s Cryo-architecture (DD MYR-24488)
Utilities ACC
Electrical power (EP)
Compressed air (CA)
Cooling water (CW)
HVAC
Cryogenic Supply System
Infrastructure
Cryoplant
Cryogenic Distribution System
Storages
Warm compressor stations
Refrigerator cold-box
Cryogenic transfer lines
SC LINAC
Cryogenic Cell
Refrigerator cold boxes
Warm compressor station
Gas management
He recovery system
He purification system
Supply lines (for purging, etc)
Cryogenic distribution boxes
Main refrigerator line (QRB ↔ QLM)
Cryomodule’s valve-box
Cryogenic manifold (QLR ↔ QVB)
HP gaseous warm He storage (GHe)
Liquid He storage (LHe)
Liquid N2 storage (LN2)
General piping and lines
Warm recovery lines
Cryomodules
Vent collector
LN2-storage connection
End-box
Cold recovery line
LHe-storage connection
For aiding the main process (buffering)
Cold Compressors
Main process section (HX, turbines, etc)
Warm-section panel
Compressor skids (SP, LP, and MP)
Gas regulation panel
Oil removal system
Dryers (if not part of purification system)
QCELL Definition:
1x QCELL = 1x QM + 1x QVB.
The “MINERVA-ACC-Layout v3” (SCK-CEN/3763312 v.3) foresees QMs with accelerating cavities only:
  30 QMs configuration: design point for CRYO.
  24 QMs configuration: current implementation.
To assist pre-cooling and/or purification units
NA.CP
NA.CP01
NA.CP02
NA.CP03
QLR
WPR
WPS
QVE
QLV
QRB
WCS
QSH
WSH
QSN
_G_
QVB
QM
_P / L_
_C_
_S_
_R_
_L_
_V_
QLN
QLM
WGR
WGP
QCELL
Naming Convention (SCK-CEN/42055443)
N.B.: Cryogenic System = “Cryogenic Supplier” + “Cryogenic User”
WLR
QLH
The Cryogenic User
The Cryogenic Supplier
SBS: L3
SBS: L4
SBS: L5
SBS: L3
NA.ESxx
NA.PS01
NA.PS05
NA.HV03
NA.xx
ACC PS.LB
SBS: L4
Primary systems (Accelerator, ACC PS)
Secondary systems (Nuclear Facilities, ACC NF)

## Slide 47: MINERVA’s Cryo-architecture (NEW Version – work in progress)
Utilities ACC
Electrical power
Compressed air
Cooling water
HVAC
Insulation Vacuum
Cryogenic Supply System
Infrastructure
Cryoplant
Cryogenic Distribution System
Storages
Warm compressor stations
Refrigerator cold-box
Cryogenic transfer lines
Cryogenic User
Cryogenic Cell
Refrigerator cold boxes
Warm compressor station
Gas management
He purification system
He recovery system
Warm Piping System
Cryogenic distribution boxes
Main refrigerator line (QRB ↔ QLM)
Cryomodule’s valve-box
Main Cryogenic Line (QRB ↔ QVB)
HP gaseous warm He storage (GHe)
Liquid He storage (LHe)
Liquid N2 storage (LN2)
General piping
Warm recovery lines
Cryomodules
Vent collector
LN2-storage connection
End-box
Cold recovery line
LHe-storage connection
For aiding the main process (buffering)
- Incl. transfer line
Cold Compressors
Main process section (HX, turbines, etc)
Warm-section panel
Compressor skids (SP, LP, and MP)
Gas regulation panel
Oil removal system
Dryers (if not part of purification system)
QCELL Definition:
1x QCELL = 1x QM + 1x QVB.
The “MINERVA-ACC-Layout v3” (SCK-CEN/3763312 v.3) foresees QMs with accelerating cavities only:
  30 QMs configuration: design point for CRYO.
  24 QMs configuration: current implementation.
To assist pre-cooling and/or purification units
- Incl. transfer line
QSUPPLY
QPLANT
QDISTR
QINFRA
QLR
WPR
WPS
QVE
QLV
QRB
WCS
QSH
WSH
QSN
_G_
QVB
QM
_P _
_C_
_S_
_R_
_L_
_V_
QLN
QLM
WGP
WGR
QCELL
Naming Convention (SCK-CEN/42055443)
WLR
QLH
SBS: L3
SBS: L4
SBS: L5
SBS: L3
NA.ESxx
NA.PS01
NA.PS05
NA.HV03
QUSER
SBS: L4
User Equipment
Supplier Equipment
Supply lines (U)
Recovery lines (W)
SV lines (S)
Vent lines (V)
INVAC
Cryogenic Distribution Backbone (QDB)
N.B.: Cryogenic System = “Cryogenic Supplier” + “Cryogenic User”

## Slide 48: MINERVA’s Cryo-Architecture (NEW Version – work in progress)
WGR01: for LINAC
WGR02: for MAC
Cryogenic Supply System (CSS)
Infrastructure
Cryoplant
Cryogenic Distribution System
Storages
Warm compressor stations
Refrigerator cold-box
Cryogenic transfer lines
Cryogenic Cell
Refrigerator cold boxes
Warm compressor station
Gas management
He purification system
He recovery system
Warm Piping System
Cryogenic distribution boxes
Main Cryogenic Line (QRB ↔ QVB)
Cryomodule’s valve-box
HP gaseous warm He storage (GHe)
Liquid He storage (LHe)
Liquid N2 storage (LN2)
General piping
Cryomodules
End-box
For aiding the main process (buffering)
- Incl. transfer lines
Compressor skids (SP, LP, and MP)
Gas regulation panel
Oil removal system
Dryers (if not part of purification system)
Cold Compressors
Main process section (HX, turbines, etc)
Warm-section panel
To assist pre-cooling and/or purification units
- Incl. transfer lines
QPLANT
QDIST
QINFRA
QLM
WPS
QVE
QRB
WCS
QSH
WSH
QSN
_G_
QVB
QM
_P _
_C_
_S_
_R_
_L_
_V_
WGP
WGR
Naming Convention (SCK-CEN/42055443)
QCELL
Utilities ACC
Electrical power
Compressed air
Cooling water
HVAC
NA.ESxx
NA.PS01
NA.PS05
NA.HV03
Cryogenic Distribution Backbone (QDB)
Supply lines (U)
Recovery lines (W)
SV lines (S)
Vent lines (V)
Supporting Systems
Insulation Vacuum
Controls for QCELL
Controls for NA.CP
ACC PS/INVAC
CIS or UBMS?
CIS/Cryo Column
LINAC Configuration:
  24 QMs: initial / current implementation.
  30 QMs: design point for CRYOSYS.
[Not Baseline]
[Not Baseline]
Cryogenic Users
MINERVA Cryogenic System
QSYS