## Slide 1: ACC CRYO Top level system description

## Slide 3
Transients
Standby
(2K, 4K, 70K, 300K)
CRYO OK
(2K)
Static
Cooldown
Warmup
LINAC
LINAC in operation
(RF can be on)
LINAC not in operation
(RF cannot be on)
Standby (2K, 4K, 70K, 300K)
CRYO OK (2K)
Cooldown
Warmup
QCELL
NA.CP
n=yes
n-1=yes
n-m=tbd?
Affects FT of linac
Operation
Operation

## Slide 4
Transients
Static
LINAC
LINAC in operation
(RF can be on)
LINAC not in operation
(RF cannot be on)
Standby (2K, 4K, 70K, 300K)
CRYO OK (2K)
Cooldown
Warmup
QCELL
n=yes
n-1=yes
n-m=tbd?
Affects FT of linac
Operation

## Slide 6
Moves GHe
300 – 80 K
80 – 40 K
Cold GHe

## Slide 7
1
2
3
4
5
 | Warm compressors |  |  | 

## Slide 8
TS
TS
QCELL
QVE
TS
CAV
CAV
Tank
CPLR
CPLR
QCELL 30
QCELL 1
p
T
m’
LINAC requirements
SRF conditions: T_CAV below 2 K
No df_cav =function(dp): p_CAV(t) within +0/-2 mbar
QVE
NA.CP

## Slide 9
Circuit
T, p, m
T, p, m
T, p, m
m
❻
❶
❷
❸
❹
Q’
t
T
Towards 0
300
50
t
T
300
50
Transient
Steady
Circuit
T, p, m
T, p, m
T
m
❻
❶
❷
❸
❹
Q’
NA.CP
QCELL shall not “spoil”

## Slide 10
Circuit
T, p, m
T, p, m
T, p, m
m
❻
❶
❷
❸
❹
Q’
t
T
Towards 0
300
50
t
T
300
50
Transient
Steady
Circuit
T, p, m
T, p, m
T
m
❻
❶
❷
❸
❹
Q’
NA.CP
QCELL shall not “spoil”
A
B
 | A Supply T=4K | B Supply = f(t)
Efficiency (electrical) | Less efficient because dT is high | More efficient
Cool-down time | Faster due to larget dT gradient | 
Required cooling power | Requires larger cryoplant since innefficient | 
Control “coupling” between NA.CP and QCELL | Can be independent | Needs to match both temperatures

## Slide 11
Steady
Circuit
T, p, m
T, p, m
T
m
❻
❶
❷
❸
❹
Q’
Line 1
  Supplier sets the value for T1
  Supplier sets the value for p1
  m is adjusted as demanded (NA.CP adjusts)
    Achieved by keeping p1 stable
Line 4
  Target return T4
  Target return p4
  m is the sum of users
Circuit
  Q’ heat load, which is static+dynamic. That is the disturbance
  m6 is controlled so that T6 matches T4
  p3-p1 is the driving force of m6, by controlling the valve
100K
150K
dT
50K
Work
Ideally NA.CP asks for steady dH = f(T, p, m)
Steady T1 and T4
Identical m1=m4
Special case of 2K-circuit has Cold Compressors
  Very sensitive to variations in p and m
❺

## Slide 12
“2K-cryo operation” = Linac with beam
ACC CRYO
NA.CP
QCELL_i
Sets T1, p1
Sets T4, p4
Sets T_C and p_C
#Sets max_m6
If p1 varies, adjust m1
Start
Keep T_C within requirement
Keep p_C within range
This is done by adjusting m, which has to be conform with T4, within the constraints given by p4

## Slide 13
“300-70K-cryo cooldown” = Linac is shutdown
Cryo Operator
NA.CP
QCELL_i
Prepare system according “CSS PFD 80K CD”
Prepare system according “QCELL PFD 80K CD”
If p1 varies, adjust m1
Start
Protects itself of too high dT=T_Ci-T1, by adjusting m
t
T
50
LINAC
Start cool down
ready
ready
Sets max. allowed dT = T4-T1
T_Ci
Gradient of T
T5
T6

## Slide 14
QCELL Stakeholders (Users and Services)
SRF Cavity [CAV]
Cryomodule [QM]
Insulation Vacuum [INVAC]
Cold Tuner [TUN]
RF Coupler [CPLR]
Mag. Shield [MGS]
Valve Box [QVB]
Mech. Design
Controls & Interlocks [CIS]
Cryoplant [NA.C01]
Beam Vacuum
[BVAC[
Cryo Cell [QCELL]
Cryo Controls “QCIS”
RCU
ACM
ICS
ACR
MDB Teams
Services
Users
QCELL Equipment
NFS
Utilities ACC [NA.xx]
Domain
SRF
Mech, xVAC
CRYO
C&C
Utilities,
Cryoplant
Cryo Distribution [NA.CP02]
Cryo Infrastructure [NA.CP03]
RF-Payload
Cryo Supply System [NA.CP]
Cooling Water [NA.CP01]
From QCELL Design Activities (SCK CEN/83017932)v

## Slide 15
QCELL Stakeholders (Users and Services)
SRF Cavity [CAV]
Cryomodule [QM]
Insulation Vacuum [INVAC]
Cold Tuner [TUN]
RF Coupler [CPLR]
Mag. Shield [MGS]
Valve Box [QVB]
Mech. Design
Controls & Interlocks [CIS]
Cryoplant [NA.C01]
Beam Vacuum
[BVAC[
Cryo Cell [QCELL]
Cryo Controls “QMCS”
RCU
ACM
ICS
ACR
MDB Teams
Services
Users
QCELL Equipment
NFS
Utilities ACC [NA.xx]
Domain
SRF
Mech, xVAC
CRYO
C&C
Utilities,
Cryoplant
Cryo Distribution [NA.CP02]
Cryo Infrastructure [NA.CP03]
RF-Payload
Cryo Supply System [NA.CP]
Cooling Water [NA.CP01]
From QCELL Design Activities (SCK CEN/83017932)v

## Slide 16
CRYO Stakeholders (Users and Services)
SRF Cavity [CAV]
Cryomodule [QM]
Insulation Vacuum [INVAC]
Cold Tuner [TUN]
RF Coupler [CPLR]
Mag. Shield [MGS]
Valve Box [QVB]
Mech. Design
Controls & Interlocks [CIS]
Cryoplant [NA.C01]
Beam Vacuum
[BVAC[
Cryo Cell [QCELL]
Cryo Controls “QMCS”
RCU
ACM
ICS
ACR
MDB Teams
Services
Users
QCELL Equipment
NFS
Utilities ACC [NA.xx]
Domain
SRF
Mech, xVAC
CRYO
C&C
Utilities,
Cryoplant
Cryo Distribution [NA.CP02]
Cryo Infrastructure [NA.CP03]
RF-Payload
Cryo Supply System [NA.CP]
Cooling Water [NA.CP01]
From QCELL Design Activities (SCK CEN/83017932)v

## Slide 17
Function: provide 2K refrigeration
Generates 2K
What is needed
A VLP line
SHe supply

## Slide 18
Copyright © SCK CEN
All property rights and copyright are reserved.
This presentation contains data, information and formats for dedicated use only and may not be communicated, copied, reproduced, distributed or cited without the explicit written permission of SCK CEN.
If this explicit written permission has been obtained, please reference the author, followed by ‘by courtesy of SCK CEN’.
Any infringement to this rule is illegal and entitles to claim damages from the infringer, without prejudice to any other right in case of granting a patent or registration in the field of intellectual property.
SCK CEN
Belgian Nuclear Research Centre
Studiecentrum voor Kernenergie
Centre d'Etude de l'Energie Nucléaire
Foundation of Public Utility
Stichting van Openbaar Nut
Fondation d'Utilité Publique
Registered Office:
Avenue Herrmann-Debrouxlaan 40 - 1160 BRUSSELS - Belgium
Research Centres:
Boeretang 200 - 2400 MOL - Belgium
Chemin du Cyclotron 6 - 1348 Ottignies-Louvain-la-Neuve - Belgium

## Slide 21
ARCHITECTURE

## Slide 22
ACC NF
ACC PS
NA-CP
(LINAC LB)
NA-CP01
NA-CP02
NA-CP03
QCELL
MYR-6093
MYR-6093 Cryogenic System IARD
Defines ACC ADR of CRYO System in top-down approach:
from SBS lvl 2 (ACC NF//ACC PS) down to SBS lvl 4 (NA.CPxx//QCELL)
Design Decisions:
Pressure drop budgets: 7mbar
TOP-Level CRYO Interface
Questions:
Where to document the top-level CRYO System (NA.CP + QCELLs)? Two options
  Create an ARD of ACC specific for cryogenics
  Create an IARD of the top-level cryogenics interface ACC NF//ACC PS
What about PTF user? Is it part of ACC PS?

## Slide 23
ACC PS
ACC NF
ACC PS
ACC NF
QCELL
NA.CP
NA.PS
NA.xx
QCELL
NA.CP02
NA.PS05
NA.xx
QVB
[NA.CP02] QLM
[NA.CP03] WPR
[NA.PS05] xxx
cryo
Process
Tunnel cryoline
Warm return piping
Compressed air
[QVB] terminal point
[NA.PS05] terminal point
Pressurized air, line for valve #123
Airflow, mechanical connection, etc…
Missalignment in representation
Generic interface
Water
Air
cryo
Generic interface
Water
Air
cryo
air
LINAC
NA.PS

## Slide 24
ACC PS
ACC NF
ACC PS
ACC NF
[Section]
NA.CP
NA.PS
NA.xx
CELLs
NA.CP02
NA.PS05
NA.xx
QVB
[NA.CP02] QLM
[NA.CP03] WPR
[NA.PS05] xxx
cryo
Process
Tunnel cryoline
Warm return piping
Compressed air
[QVB] terminal point
[NA.PS05] terminal point
Pressurized air, line for valve #123
Airflow, mechanical connection, etc…
air
NA.xx
QM
QVB
NA.PS05
ACC ADR
  ACC PS // NA.CP
  ACC PS // NA.PS
  ACC PS // NA.xx
ACC-PS ADR
  “cell” // NA.PS01
  “cell” // NA.PS02

## Slide 25
Utilities
ACC PS
ACC NF
Water
QCELL
SRFCELL
PS03
Water 20degC
xxxx
xxxx
PS07.xx.yy
xCELL
xDevice
Purified Water
CPLR
SSA
PS03.xx
Normal Water
Terminal point
child
ACC
ACC-PS
xCELL
Defined in
ADR of…
PS
xCELL
….

## Slide 26
services
ACC PS
ACC NF
Water
QCELL
SRFCELL
PS03
Water 20degC
xxxx
xxxx
PS07.xx.yy
xCELL
xDevice
Purified Water
CPLR
SSA
PS03.xx
Normal Water
Terminal point
child
ACC
ACC-PS
xCELL
Defined in
ADR of…
PS
xCELL
….

## Slide 27
services
ACC PS
ACC NF
Water
QCELL
SRFCELL
PS03
Water 20degC
xxxx
xxxx
PS07.xx.yy
xCELL
xDevice
Purified Water
CPLR
SSA
PS03.xx
Normal Water
Terminal point
child
ACC
ACC-PS
xCELL
Defined in
ADR of…
PS
xCELL
….

## Slide 28
ADR
OCD
REQ
ADR
OCD
REQ
QCELL
QM
CPLR
OCD
REQ
ADR
OCD
REQ
ACC-PS
Design Note
Fine tuning vs coarse tuning
CPLR
LLRF
IADR
ADR
OCD
REQ
SRFCELL

## Slide 29
ADR
OCD
REQ
ADR*
OCD
REQ
QCELL
QM
CPLR
OCD
REQ
ADR
OCD
REQ
ACC-PS
Design Note
Fine tuning vs coarse tuning
ADR
OCD
REQ
SRFCELL
SRFCELL
QCELL
QM
CPLR
LLRF
IADR
*cherry picks items from QCELL&SRFCELL

## Slide 30
ADR
OCD
REQ
ADR*
OCD
REQ
QCELL
QM
CPLR
OCD
REQ
ADR
OCD
REQ
ACC-PS
Design Note
Fine tuning vs coarse tuning
ADR
OCD
REQ
SRFCELL
SRFCELL
QCELL
QM
CPLR
LLRF
IADR
*cherry picks items from QCELL&SRFCELL
ACC CRYO
ADR
OCD

## Slide 31
ACC PS
Q-Cell
RF-Cell
DF-Cell
Beam VAC
Insul. VAC
QM
CAV
BD
ICD
SRC-Cell
Girders & supports
Proposal
OCD: Overall operational concept
ADR:
Machine physics
Reliability modeling
Integration
RF architecture
DF devices architecture (incl. PCO’s)
Cryo architecture
Insulation vacuum architecture
Beam vacuum architecture
?
?